# ACT AIR QUALITY REPORT 2018

# Environment Protection Authority | June 2019

# TABLE OF CONTENTS

TABLE OF CONTENTS	i

LIST OF TABLES	ii

LIST OF FIGURES	iii

LIST OF DEFINITIONS AND ABBREVIATIONS	iv

OVERVIEW	1

MONITORING SUMMARY	3

Performance Monitoring Stations	3

Monitoring Methods	3

NATA Accreditation Status	4

ASSESSMENT OF COMPLIANCE WITH STANDARDS AND GOALS	5

Carbon monoxide	7

Nitrogen dioxide	8

Ozone	10

PM10	13

PM2.5	15

ANALYSIS OF AIR QUALITY MONITORING	18

Carbon monoxide	18

Nitrogen dioxide	18

Ozone	19

PM10	19

PM2.5	20

ASSESSMENT OF PROGRESS TOWARDS ACHIEVING THE GOAL	22

APPENDIX A: STATISTICAL SUMMARY AND TRENDS	23

Carbon monoxide	23

Nitrogen dioxide	25

Ozone	28

PM10	34

PM2.5	38

# LIST OF TABLES

Table 1: Summary of stations’ siting compliance with AS 3580.1.1:2008	3

Table 2: Methods used for monitoring AAQ NEPM pollutants	4

Table 3: AAQ NEPM standards and goals	5

Table 4: 2018 compliance summary for CO	7

Table 5: 2018 compliance summary for NO2	8

Table 6: 2018 compliance summary for O3	10

Table 7: 2018 compliance summary for PM10	13

Table 8: 2018 compliance summary for PM2.5	15

Table 9: 2018 summary statistics for daily peak 8-hour CO	18

Table 10: 2018 summary statistics for daily peak 1-hour NO2	18

Table 11: 2018 summary statistics for daily peak 1-hour O3	19

Table 12: 2018 summary statistics for daily peak 4-hour O3	19

Table 13: 2018 summary statistics for daily PM10	19

Table 14: 2018 PM10 exceedances	20

Table 15: 2018 summary statistics for daily PM2.5	20

Table 16: 2018 PM2.5 exceedances	20

Table 17: Statistical summary for daily maximum 8-hour CO Monash 2009 – 2018	23

Table 18: Statistical summary for daily maximum 8-hour CO Florey 2014 – 2018	24

Table 19: Statistical summary for daily maximum 1-hour NO2 Monash 2009 – 2018	25

Table 20: Statistical summary for daily maximum 1-hour NO2 Florey 2014 – 2018	26

Table 21: Statistical summary for daily maximum 1-hour O3 Monash 2009 – 2018	28

Table 22: Statistical summary for daily maximum 1-hour O3 Civic 2009 – 2018	29

Table 23: Statistical summary for daily maximum 1-hour O3 Florey 2014 – 2018	30

Table 24: Statistical summary for daily maximum 4-hour O3 Monash 2009 – 2018	31

Table 25: Statistical summary for daily maximum 4-hour O3 Civic 2009 – 2018	32

Table 26:  Statistical summary for daily maximum 4-hour O3 Florey 2014 – 2018	33

Table 27: Statistical summary for daily maximum daily PM10 Monash 2009 – 2018	34

Table 28: Statistical summary for daily maximum daily PM10 Civic 2010 – 2018	35

Table 29: Statistical summary for daily maximum daily PM10 Florey 2014 – 2018	37

Table 30: Statistical summary for daily maximum daily PM2.5 Monash 2009 – 2018	38

Table 31: Statistical summary for daily maximum daily PM2.5 Civic 2016 – 2018	40

Table 32: Statistical summary for daily maximum daily PM2.5 Florey 2014 – 2018	41

# LIST OF FIGURES

Figure 1: Causes of PM2.5 exceedances	2

Figure 2: Daily maximum for CO 8-hour average – Monash	7

Figure 3: Daily maximum for CO 8-hour average – Florey	8

Figure 4: Daily maximum for NO2 – Monash	9

Figure 5: Daily maximum for NO2 – Florey	9

Figure 6: Daily maximum for 1 hour O3 – Monash	10

Figure 7: Daily maximum for 1 hour O3 – Civic	11

Figure 8: Daily maximum for 1 hour O3 – Florey	11

Figure 9: Daily maximum for 4 hours O3 - Monash	12

Figure 10: Daily maximum for 4 hours O3 – Civic	12

Figure 11: Daily maximum for 4 hours O3 – Florey	13

Figure 12: Daily maximum for PM10 – Monash	14

Figure 13: Daily maximum for PM10 – Civic	14

Figure 14: Daily maximum for PM10 – Florey	15

Figure 15: Daily maximum for PM2.5 – Monash	16

Figure 16: Daily maximum for PM2.5 – Civic	16

Figure 17: Daily maximum for PM2.5 – Florey	17

Figure 18: Statistical summary for daily maximum 8-hour CO Monash 2009 – 2018	23

Figure 19: Statistical summary for daily maximum 8-hour CO Florey 2014 – 2018	24

Figure 20: Statistical summary for daily maximum 1-hour NO2 Monash 2009 – 2018	25

Figure 21: Annual average 1-hour NO2 Monash 2009 – 2018	26

Figure 22: Statistical summary for daily maximum 1-hour NO2 Florey 2014 – 2018	27

Figure 23: Annual average 1-hour NO2 Florey 2014 – 2018	27

Figure 24: Statistical summary for daily maximum 1-hour O3 Monash 2009 – 2018	28

Figure 25: Statistical summary for daily maximum 1-hour O3 Civic 2009 – 2018	29

Figure 26: Statistical summary for daily maximum 1-hour O3 Florey 2014 – 2018	30

Figure 27: Statistical summary for daily maximum 4-hour O3 Monash 2009 – 2018	31

Figure 28: Statistical summary for daily maximum 4-hour O3 Civic 2009 – 2018	32

Figure 29: Statistical summary for daily maximum 4-hour O3 Florey 2014 – 2018	33

Figure 30: Statistical summary for daily PM10 Monash 2009 – 2018	34

Figure 31: Annual average daily PM10 Monash 2009 – 2018	35

Figure 32: Statistical summary for daily PM10 Civic 2010 – 2018	36

Figure 33: Annual average daily PM10 Civic 2010 – 2018	36

Figure 34: Statistical summary for daily PM10 Florey 2014 – 2018	37

Figure 35: Annual average daily PM10 Florey 2009 – 2018	38

Figure 36: Statistical summary for daily PM2.5 Monash 2009 – 2018	39

Figure 37: Annual average daily PM2.5 Monash 2009 – 2018	39

Figure 38: Statistical summary for daily PM2.5 Civic 2016 – 2018	40

Figure 39: Annual average daily PM2.5 Civic 2016 – 2018	41

Figure 40: Statistical summary for daily PM2.5 Florey 2014 – 2018	42

Figure 41: Annual average daily PM2.5 Florey 2014 – 2018	42

# LIST OF DEFINITIONS AND ABBREVIATIONS

| Term | Definition |
| --- | --- |
| AAQ NEPM | National Environment Protection (Ambient Air Quality) Measure |
| ACT | Australian Capital Territory |
| CO | Carbon monoxide |
| BAM | Beta Attenuation Monitor |
| Exceptional event | Exceptional event means a fire or dust occurrence that adversely affects air quality at a particular location, and causes an exceedance of 1 day average standards in excess of normal historical fluctuations and background levels, and is directly related to: bushfire; jurisdiction authorised hazard reduction burning; or continental scale windblown dust |
| NATA | National Association of Testing Authorities |
| ND | Not Demonstrated |
| NO2 | Nitrogen dioxide |
| O3 | Ozone |
| PMS | Performance Monitoring Station |
| PM2.5 | Particles with an equivalent aerodynamic diameter less than or equal to 2.5 micrometres |
| PM10 | Particles with an equivalent aerodynamic diameter less than or equal to 10 micrometres |
| ppm | Parts per million by volume – parts of pollutant per million parts of air |
| Q | Quarter (e.g. Q1 means the first quarter of the year) |
| SO2 | Sulfur dioxide |
| µg/m3 | micrograms per cubic metre |

# OVERVIEW

The ACT Air Quality Report 2018 (Report) presents the results of ambient air quality monitoring in the ACT for 2018 and assesses the results in accordance with the requirements of the National Environment Protection (Ambient Air Quality) Measure (AAQ NEPM) made by the National Environment Protection Council on 26 June 1998.

Air quality in this Report is assessed against the AAQ NEPM standards shown in Table 3. In accordance with its agreed policy position, the ACT assesses its compliance for the annual average for particulate matter less than 10 microns (PM10) against a lower standard of 20 μg/m3 rather than the AAQ NEPM standard of 25 μg/m3 from 2016.

The ACT monitors four of the six NEPM pollutants:

- carbon monoxide (CO);

- nitrogen dioxide (NO2);

- photochemical oxidants as ozone (O3);

- particulate matter PM10 (particles less than 10 microns in diameter); and

- particulate matter PM2.5 (particles less than 2.5 microns in diameter).

The ACT has never monitored sulfur dioxide (SO2) as it is primarily an industrial pollutant and the ACT does not have a lot of heavy industry. In 2002, lead monitoring ceased with the phase out of leaded petrol.

A summary of the 2018 monitoring results is:

- Canberra’s air quality was generally good, with no exceedances of the AAQ NEPM standards for carbon monoxide, nitrogen dioxide or ozone at any of the ACT’s monitoring stations;

- the major impacts on Canberra’s air quality came from the accumulation of particles from events such as hazard reduction burns and dust storms and human activities such as wood heaters; and

- some significantly high particle levels, PM10 in particular, occurred as a result of more frequent dust storms due to the prolonged drought conditions in 2018.

Exceedances of the PM10 and PM2.5 standards are summarised below:

- the 24-hour PM10 standard was exceeded on six days across the ACT. All of the PM10 exceedances occurred outside the winter season and were due to dust storms (refer to Table 14 for details);

- the 24-hour PM2.5 standard was exceeded on five days. The PM2.5 exceedance which occurred at Monash on 27 May 2018 was attributed to emissions from domestic wood heaters in winter. The other exceedances were primarily due to dust storms (refer to Table 16 for details); and

- The pie chart below shows the causes (in percentage) of PM2.5 exceedances.

Figure 1: Causes of PM2.5 exceedances

- In the case of PM10 and PM2.5, all exceedances associated with an exceptional event as defined in the AAQ NEPM (e.g. bushfire smoke or dust storm) were not considered when determining compliance with the relevant 24-hour goal.

# MONITORING SUMMARY

## Performance Monitoring Stations

The ACT Government has been undertaking ambient air quality monitoring in Canberra since the early 1990’s. The Health Directorate is responsible for the Government’s ambient air quality monitoring network. The Environment Protection Authority (EPA) within the Chief Minister, Treasury and Economic Development Directorate is responsible for annual reporting under the AAQ NEPM.

The AAQ NEPM monitoring network in the ACT consists of three monitoring stations located at:

- Monash – approximately 300 metres west of Cockcroft Avenue in the Monash district playing fields

- Civic – at the northern end of the carpark on the western side of the Olympic swimming pool adjacent to Allara Street

- Florey – at the end of Neumann Place, on public land.

The compliance and non-compliance criteria for the monitoring stations against the siting standard AS/NZS 3580.1.1:2008 are listed in Table 1 below.

Table 1: Summary of stations’ siting compliance with AS 3580.1.1:2008

| Station | Height above ground | Minimum distance to support structure | Clear sky angle of 120° | Unrestricted airflow of 270°/360° | 20m from trees | No boilers or incinerators nearby | Minimum distance from road or traffic |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Monash |  |  |  |  |  |  |  |
| Civic |  |  |  |  |  |  |  |
| Florey |  |  |  |  |  |  |  |

The Monash and Florey stations contain instrumentation that continuously monitors carbon monoxide, nitrogen dioxide, ozone and particles as PM10 and PM2.5.  Following the establishment of the Florey station on 28 February 2014, the Civic station only monitors ozone and particles as PM10 and PM2.5.

## Monitoring Methods

The ACT monitoring is conducted in accordance with the relevant Australian Standards as shown in Table 2.  Data not meeting the requirements of these Standards are identified as invalid and not included in this report.

Table 2: Methods used for monitoring AAQ NEPM pollutants

| Pollutant | Standard | Title | Method Used |
| --- | --- | --- | --- |
| Carbon monoxide | AS 3580.7.1-2011 | Methods for sampling and analysis of ambient air - Determination of carbon monoxide - Direct-reading instrumental method | Gas filter correlation/ Infrared |
| Nitrogen dioxide | AS 3580.5.1-2011 | Methods for sampling and analysis of ambient air - Determination of oxides of nitrogen - Direct-reading instrumental method | Gas phase chemiluminescence |
| Photochemical oxidant (ozone) | AS 3580.6.1-2016 | Methods for sampling and analysis of ambient air - Determination of ozone - Direct-reading instrumental method | Non-dispersive ultraviolet |
| Particles PM10 | AS/NZS 3580.9.11-2016 | Method for sampling and analysis of ambient air Method – Determination of suspended particles matter – PM10 beta attenuation monitors | Beta Attenuation Monitor (BAM) |
| PM10 | AS/NZS 3580.9.6-2015 | Methods for sampling and analysis of ambient air - Determination of suspended particulate matter - PM10 high volume sampler with size-selective inlet - Gravimetric method | Gravimetric reference method |
| PM2.5 | AS/NZS 3580.9.12:2013 | Methods for sampling and analysis of ambient air - Method 9.12: Determination of suspended particulate matter - PM2.5 beta attenuation monitors | BAM |

## NATA Accreditation Status

The ACT Government monitoring network is accredited by NATA for the measurement of all AAQ NEPM pollutants except sulfur dioxide and lead as required under Clause 12 of the AAQ NEPM.

# ASSESSMENT OF COMPLIANCE WITH STANDARDS AND GOALS

For the purpose of this Report, air quality is assessed against the AAQ NEPM standards and goals as specified in Schedule 2 of the AAQ NEPM and reproduced in Table 3.

The standards against which air quality is assessed are concentrations in parts per million (ppm) or micrograms per cubic metre (µg/m3) (refer to Table 3, column 3).

The goal of the AAQ NEPM is to achieve the National Environment Protection Standards as assessed in accordance with the monitoring protocol to the extent specified in Schedule 2 of the AAQ NEPM.

The extent is expressed as a maximum allowable number of exceedances for each standard (shown in column 4, Table 3). For PM2.5, there is an additional goal to further reduce concentrations to below a daily concentration of 20 μg /m3 and an annual concentration of 7 μg /m3 by 2025.

Table 3: AAQ NEPM standards and goals

| Pollutant | Averaging Period | Maximum concentration | Maximum allowable exceedances | Monitoring Station |
| --- | --- | --- | --- | --- |
| Carbon monoxide | 8 hours | 9.0 ppm | 1 day a year | Monash Florey |
| Nitrogen dioxide | 1 hour 1 year | 0.12 ppm 0.03 ppm | 1 day a year None | Monash Florey |
| Photochemical oxidants | 1 hour 4 hours | 0.10 ppm 0.08 ppm | 1 day a year 1 day a year | Monash Florey Civic |
| Sulfur dioxide | 1 hour 1 day 1 year | 0.20 ppm 0.08 ppm 0.02 ppm | 1 day a year 1 day a year None | Not monitored |
| Lead | 1 year | 0.50 μg/m3 | None | Not monitored |
| Particles as PM10 | 1 day 1 year | 50 μg/m3 25 μg/m3 | None None | Monash Florey Civic |
| Particles as PM2.5 | 1 day 1 year | 25 μg/m3 8 μg/m3 | None None | Monash Florey Civic |

Table 4 to Table 8 summarise compliance with the standards and goals of the AAQ NEPM. For each pollutant, the data availability (quarterly and annual), the number of days when standards were exceeded, the annual mean (where an annual standard exists) and an assessment of compliance, are given for each monitoring station.

Air quality is assessed as complying with the AAQ NEPM (i.e. ‘MET’) if the number of exceedances is no more than the number specified in Table 3 and data availability was at least 75% in each quarter of the year.

Air quality is assessed as not complying with the AAQ NEPM (i.e. ‘NOT MET’) if there is more than the number of exceedances specified in Table 3.  For the purpose of reporting compliance against PM10 and PM2.5 1 day average standards, monitoring data that has been determined as being directly associated with an exceptional event has been excluded.

Air quality is assessed as ‘NOT DEMONSTRATED’ (i.e. ‘ND’) if there has been insufficient data collected to demonstrate that the standards and goal have been met or not met.

These categories (i.e. MET, NOT MET and ND) are used in Tables 4 to 8 on the following pages.

## Carbon monoxide

During 2018, no exceedances of the carbon monoxide standard were recorded and compliance was demonstrated at Monash and Florey.

Table 4: 2018 compliance summary for CO

AAQ NEPM standard - 9.0 ppm (8-hour average)

| Performance monitoring station | Data availability rates (% of hours) |  |  |  |  | Number of exceedances (days) | Performance against the standards and goal |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Q1 | Q2 | Q3 | Q4 | Annual |  |  |
| Monash Florey | 95.8 93.6 | 94.6 95.5 | 95.0 94.1 | 83.8 95.7 | 92.3 94.7 | 0 0 | MET MET |

Figure 2: Daily maximum for CO 8-hour average – Monash

Figure 3: Daily maximum for CO 8-hour average – Florey

## Nitrogen dioxide

During 2018, no exceedances of the nitrogen dioxide standards were recorded and compliance was demonstrated at Monash and Florey.

Table 5: 2018 compliance summary for NO2

AAQ NEPM standard – 0.12 ppm (1-hour average), 0.03 ppm (1-year average)

| Performance monitoring station | Data availability rates (% of hours) |  |  |  |  | Annual mean Concentration (ppm) | Number of 1 hour exceedances (days) | Performance against the standards and goal |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | 1 hour | 1 year |
|  | Q1 | Q2 | Q3 | Q4 | Annual |  |  |  |  |
| Monash Florey | 95.8 90.2 | 95.7 94.7 | 95.0 93.5 | 95.6 94.7 | 95.5 93.3 | 0.004 0.005 | 0 0 | MET MET | MET MET |

Figure 4: Daily maximum for NO2 – Monash

Figure 5: Daily maximum for NO2 – Florey

## Ozone

During 2018, no exceedances of the 1-hour and 4-hour standards for ozone were recorded and compliance was demonstrated at all monitoring stations.

Table 6: 2018 compliance summary for O3

AAQ NEPM standard – 0.10 ppm (1-hour average), 0.08 ppm (4-hour average)

| Performance monitoring station | Data availability rates (% of hours) |  |  |  |  | Number of exceedances (days) |  | Performance against the standards and goal |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Q1 | Q2 | Q3 | Q4 | Annual | 1 hour | 4 hours | 1 hour | 4 hours |
| Monash Civic Florey | 95.8 95.7 95.3 | 95.8 95.8 95.6 | 95.8 95.8 94.1 | 95.6 93.3 95.7 | 95.8 95.2 95.2 | 0 0 0 | 0 0 0 | MET MET MET | MET MET MET |

Figure 6: Daily maximum for 1 hour O3 – Monash

Figure 7: Daily maximum for 1 hour O3 – Civic

Figure 8: Daily maximum for 1 hour O3 – Florey

Figure 9: Daily maximum for 4 hours O3 - Monash

Figure 10: Daily maximum for 4 hours O3 – Civic

Figure 11: Daily maximum for 4 hours O3 – Florey

## PM10

During 2018, there were 13 exceedances of the 24-hour PM10 standard recorded in the ACT, which occurred outside the winter season and were due to dust storms**. Compliance against the AAQ NEPM PM10 standard was demonstrated at all stations, when the exceedances were removed as exceptional events.

Table 7: 2018 compliance summary for PM10

AAQ NEPM standard 50 g/m3 1-day average, 20 g/m3 (1-year average)*

| Performance monitoring station | Data availability rates (% of days) |  |  |  |  | Annual mean Concentration (g/m3) | Number of exceedances (days) | Performance against the standards and goal |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Q1 | Q2 | Q3 | Q4 | Annual |  |  |  |
| Monash Civic Florey | 98.9 93.3 90.0 | 100 100 87.9 | 100 100 87.0 | 97.8 97.8 94.6 | 99.2 97.8 89.9 | 11.8 13.5 12.0 | 4 6 3 | MET** MET** MET** |

* ACT policy position 20 µg/m3 not AAQ NEPM standard of 25 µg/m3

** monitoring data that has been determined as being directly associated with an exceptional events such as hazard reduction burn or dust storm is excluded for the purpose of reporting compliance.

Figure 12: Daily maximum for PM10 – Monash

Figure 13: Daily maximum for PM10 – Civic

Figure 14: Daily maximum for PM10 – Florey

## PM2.5

During 2018, there were four exceedances of the 24-hour PM2.5 standard which were attributed to hazard reduction burns (1) and dust storms (3) and therefore were excluded when assessing compliance against the daily goal.  Compliance against the AAQ NEPM PM2.5 standards was met at Civic and Florey. The goal was not met at Monash due to one wood heater related exceedance on  27 May 2018.

Table 8: 2018 compliance summary for PM2.5

AAQ NEPM standard – 25 g/m3 (1-day), 8 g/m3 (1-year)

| Performance monitoring station | Data availability rates (% of days) |  |  |  |  | Annual mean Concentration (g/m3) | Number of exceedances (days) | Performance against the standards and goal |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Q1 | Q2 | Q3 | Q4 | Annual |  |  |  |
| Monash Civic Florey | 100 100 98.9 | 98.9 100 98.9 | 97.8 100 94.6 | 100 94.6 96.7 | 99.2 98.6 97.3 | 6.8 6.5 7.1 | 2 1 2 | NOT MET MET** MET** |

** monitoring data that has been determined as being directly associated with an exceptional events such as hazard reduction burn or dust storm is excluded for the purpose of reporting compliance.

Figure 15: Daily maximum for PM2.5 – Monash

Figure 16: Daily maximum for PM2.5 – Civic

Figure 17: Daily maximum for PM2.5 – Florey

# ANALYSIS OF AIR QUALITY MONITORING

Annual summary statistics contained in Table 9 to Table 15 below assess air quality against the standards and the extent of compliance with the goal. Instances where the standard has been exceeded are highlighted in bold.

## Carbon monoxide

Table 9: 2018 summary statistics for daily peak 8-hour CO

AAQ NEPM standard - 9.0 ppm (8-hour average)

| Performance monitoring station | Number of valid days | Highest (ppm) | Highest (date/time) | 2nd Highest (ppm) | 2nd Highest (date/time) |
| --- | --- | --- | --- | --- | --- |
| Monash Florey | 347 358 | 1.6 1.5 | 27 May 04:00 03 Jul 03:00 | 1.6 1.4 | 24 Jun 06:00 26 Jun 03:00 |

Carbon monoxide levels are well below the AAQ NEPM standard at all monitoring stations. The highest recorded value in the ACT during 2018 was 1.6 ppm at Monash, which is 18% of the standard.

## Nitrogen dioxide

Table 10: 2018 summary statistics for daily peak 1-hour NO2

AAQ NEPM standard 0.12 ppm (1-hour average)

| Performance monitoring station | Number of valid days | Highest (ppm) | Highest (date/time) | 2nd Highest (ppm) | 2nd Highest (date/time) |
| --- | --- | --- | --- | --- | --- |
| Monash Florey | 363 349 | 0.039 0.039 | 24 Apr 19:00 11 Apr 19:00 | 0.036 0.035 | 11 Apr 20:00 07 Apr 19:00 |

Nitrogen dioxide levels are well below the AAQ NEPM standard and have remained stable over the last decade. The highest recorded 1-hour value during 2018 was 0.039 ppm at both Monash and Florey, which is only 32.5% of the standard.  The highest recorded annual average in 2018 was 0.005ppm at Florey (refer to Table 5). This is 17% of the annual standard 0.03ppm.

## Ozone

Table 11: 2018 summary statistics for daily peak 1-hour O3

AAQ NEPM standard 0.10 ppm (1-hour average)

| Performance monitoring station | Number of valid days | Highest (ppm) | Highest (date/time) | 2nd Highest (ppm) | 2nd Highest (date/time) |
| --- | --- | --- | --- | --- | --- |
| Monash Civic Florey | 365 361 360 | 0.062 0.056 0.059 | 09 Feb 11:00 27 Dec 12:00 02 Oct 13:00 | 0.059 0.055 0.058 | 25 Jan 17:00 26 Jan 11:00 27 Dec 12:00 |

Table 12: 2018 summary statistics for daily peak 4-hour O3

AAQ NEPM standard 0.08 ppm (4-hour average)

| Performance monitoring station | Number of valid days | Highest (ppm) | Highest (date/time) | 2nd Highest (ppm) | 2nd Highest (date/time) |
| --- | --- | --- | --- | --- | --- |
| Monash Civic Florey | 365 361 360 | 0.057 0.053 0.057 | 13 Nov 14:00 27 Dec 19:00 27 Dec 13:00 | 0.057 0.052 0.055 | 09 Feb 13:00 26 Jan 14:00 25 Jan 18:00 |

Ozone levels are below the AAQ NEPM standard. The highest recorded 1-hour value in the ACT during 2018 was 0.062 ppm at Monash, which is 62% of the standard. The highest recorded 4-hour value in the ACT during 2018 was 0.057 ppm at Monash and Florey, which is 71% of the standard.

## PM10

Table 13: 2018 summary statistics for daily PM10

AAQ NEPM daily standard 50 g/m3

| Performance monitoring station | Number of valid days | Highest (g/m3) | Highest (date) |
| --- | --- | --- | --- |
| Monash Civic Florey | 362 357 328 | 139.2 179.8 158.6 | 15 December 15 December 15 December |

Table 14: 2018 PM10 exceedances

| Date | Monitoring Station |  |  | Inferred Cause | Exceptional Event |
| --- | --- | --- | --- | --- | --- |
|  | Monash (g/m3) | Civic (g/m3) | Florey (g/m3) |  |  |
| 18 March | 62.4 | 74.0 | 64.1 | Dust Storm | Yes |
| 19 March |  | 52.0 |  | Dust Storm | Yes |
| 12 April |  | 50.2 |  | Dust Storm | Yes |
| 14 April | 68.6 | 78.2 |  | Dust Storm | Yes |
| 15 December | 139.2 | 179.8 | 158.6 | Dust Storm | Yes |
| 16 December | 61.7 | 68.6 | 77.6 | Dust Storm | Yes |

While there were 13 exceedances of the standard recorded in the ACT during 2018, these were attributed to dust storms and were excluded when assessing compliance against the daily goal.

The highest daily PM10 level was recorded at Civic on 15 December 2018, with the concentration of 179.8μg/m3.

The highest recorded annual average in 2018 was 13.5μg/m3 at Civic (refer to Table 7). This is 67.5% of the policy standard annual of 20μg/m3.

## PM2.5

Table 15: 2018 summary statistics for daily PM2.5

AAQ NEPM daily standard 25 g/m3

| Performance monitoring station | Number of valid days | Highest (g/m3) | Highest (date) |
| --- | --- | --- | --- |
| Monash Civic Florey | 362 357 328 | 32.0 36.1 26.4 | 15 December 15 December 15 December |

Table 16: 2018 PM2.5 exceedances

| Date | Monitoring Station |  |  | Inferred Cause | Exceptional Event |
| --- | --- | --- | --- | --- | --- |
|  | Monash (g/m3) | Civic (g/m3) | Florey (g/m3) |  |  |
| 24 April |  |  | 26.4 | Controlled Burn | Yes |
| 27 May | 25.1 |  |  | Wood Heater | No |
| 15 December | 32.0 | 36.1 | 26.4 | Dust Storm | Yes |

The daily reporting standard for PM2.5 was exceeded five times. Only one of the exceedances at Monash (27 May 2018) was a result of increased domestic wood heater emissions during the winter months. The other four exceedances were due to hazard reduction burns and dust storms.

The highest daily PM10 level was recorded at Civic on 15 December 2018, with the concentration of 36.1μg/m3.

The highest recorded annual average in 2018 was 7.1μg/m3 at Florey (refer to Table 8). This is 89% of the annual standard 8μg/m3.

# ASSESSMENT OF PROGRESS TOWARDS ACHIEVING THE GOAL

The goals and standards have been consistently met in the ACT for carbon monoxide, nitrogen dioxide, and ozone since the commencement of the AAQ NEPM in 1998.

Historical monitoring results indicate that the only AAQ NEPM pollutant of concern in the ACT air shed is particulate matter, which increases significantly during winter because of emissions from domestic wood heaters, especially in the Tuggeranong Valley. Levels are exacerbated by the topography of the valley which is subject to temperature inversions and poor pollution dispersion.

In more recent years exceedances of the particulate matter standards have also been attributed to dust storms and smoke from controlled burns. During 2018, while there were 13 PM10 exceedances and five PM2.5 exceedances, only one PM2.5 exceedance was related to emissions from domestic wood heaters.

PM2.5 is the pollutant most affected by woodsmoke as the majority of particles are less than 1 micron in diameter.  Figure 15 to Figure 17 clearly show that PM2.5 levels increase significantly during the cooler months of the year.  In the last few years the annual average PM2.5 readings for Monash and Florey have also increased and are now approaching the NEPM standard.  Excluding temporal variation, this rise is more than likely because of an increase in wood heater use and/or installation as a result of the increasing cost of gas and electricity.

The ACT Government acknowledges that woodsmoke is a problem and will continue to implement an integrated program to address this including:

- the ‘Burn Right Tonight’ public education campaign;

- regulating of the sale of firewood and wood heaters, including the introduction of stricter emission and efficiency standards in September 2019; and

- administering the Wood Heater Replacement Program.

The Environment, Planning and Sustainable Development Directorate undertook a review of the efficacy of the Government’s woodsmoke programs. The review found that there had been a steady decline in applications for the Wood Heater Replacement Program. As a result, the Minister for Climate Change and Sustainability approved an increase of the rebate for the removal of a wood heater for a trial period from 1 April and 30 June 2019. It is expected that more wood heaters will be replaced during this trial period.

In 2019, there will be an increased emphasis on how to clean and correctly operate wood heaters so they can perform efficiently and reduce air emissions.

# APPENDIX A: STATISTICAL SUMMARY AND TRENDS

The following section provides a basic statistical summary, using percentiles, for Monash, Florey and Civic stations and for each standard in the past ten years. Percentiles for daily maximum values are presented.

## Carbon monoxide

Table 17: Statistical summary for daily maximum 8-hour CO Monash 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2009 | 96.4 | 0 | 2.0 | 1.4 | 0.6 | 0.3 |
| 2010 | 99.2 | 0 | 1.8 | 1.4 | 0.6 | 0.3 |
| 2011 | 98.6 | 0 | 2.2 | 1.5 | 0.5 | 0.2 |
| 2012 | 99.7 | 0 | 1.8 | 1.2 | 0.6 | 0.3 |
| 2013 | 95.9 | 0 | 2.1 | 1.5 | 0.6 | 0.3 |
| 2014 | 94.0 | 0 | 1.8 | 1.4 | 0.7 | 0.4 |
| 2015 | 94.8 | 0 | 1.9 | 1.4 | 0.6 | 0.3 |
| 2016 | 95.8 | 0 | 1.7 | 1.0 | 0.4 | 0.2 |
| 2017 | 95.4 | 0 | 1.6 | 1.2 | 0.6 | 0.2 |
| 2018 | 92.3 | 0 | 1.5 | 1.2 | 0.5 | 0.2 |

Figure 18: Statistical summary for daily maximum 8-hour CO Monash 2009 – 2018

Table 18: Statistical summary for daily maximum 8-hour CO Florey 2014 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2014 | 79.2 | 0 | 2.2 | 1.4 | 0.7 | 0.3 |
| 2015 | 94.9 | 0 | 2.0 | 1.5 | 0.6 | 0.3 |
| 2016 | 95.5 | 0 | 1.9 | 1.2 | 0.5 | 0.3 |
| 2017 | 94.7 | 0 | 1.8 | 1.4 | 0.5 | 0.2 |
| 2018 | 94.7 | 0 | 1.5 | 1.1 | 0.5 | 0.3 |

Figure 19: Statistical summary for daily maximum 8-hour CO Florey 2014 – 2018

## Nitrogen dioxide

Table 19: Statistical summary for daily maximum 1-hour NO2 Monash 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | Annual average (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2009 | 92.6 | 0 | 0.041 | 0.008 | 0.029 | 0.023 | 0.019 |
| 2010 | 89.1 | 0 | 0.037 | 0.006 | 0.025 | 0.021 | 0.017 |
| 2011 | 96.7 | 0 | 0.043 | 0.005 | 0.029 | 0.022 | 0.015 |
| 2012 | 97.5 | 0 | 0.033 | 0.006 | 0.026 | 0.021 | 0.014 |
| 2013 | 97.5 | 0 | 0.037 | 0.005 | 0.027 | 0.021 | 0.014 |
| 2014 | 94.1 | 0 | 0.036 | 0.005 | 0.027 | 0.020 | 0.015 |
| 2015 | 94.8 | 0 | 0.032 | 0.004 | 0.026 | 0.020 | 0.014 |
| 2016 | 95.6 | 0 | 0.036 | 0.004 | 0.027 | 0.019 | 0.012 |
| 2017 | 95.6 | 0 | 0.031 | 0.004 | 0.027 | 0.021 | 0.013 |
| 2018 | 95.5 | 0 | 0.039 | 0.004 | 0.028 | 0.020 | 0.014 |

Figure 20: Statistical summary for daily maximum 1-hour NO2 Monash 2009 – 2018

Figure 21: Annual average 1-hour NO2 Monash 2009 – 2018

Table 20: Statistical summary for daily maximum 1-hour NO2 Florey 2014 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | Annual average (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2014 | 78.3 | 0 | 0.045 | 0.006 | 0.027 | 0.020 | 0.015 |
| 2015 | 91.5 | 0 | 0.033 | 0.005 | 0.027 | 0.020 | 0.014 |
| 2016 | 94.7 | 0 | 0.034 | 0.004 | 0.027 | 0.019 | 0.013 |
| 2017 | 93.7 | 0 | 0.033 | 0.005 | 0.025 | 0.020 | 0.015 |
| 2018 | 93.3 | 0 | 0.039 | 0.005 | 0.028 | 0.022 | 0.015 |

Figure 22: Statistical summary for daily maximum 1-hour NO2 Florey 2014 – 2018

Figure 23: Annual average 1-hour NO2 Florey 2014 – 2018

## Ozone

Table 21: Statistical summary for daily maximum 1-hour O3 Monash 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2009 | 96.4 | 0 | 0.073 | 0.052 | 0.038 | 0.030 |
| 2010 | 86.6 | 0 | 0.051 | 0.042 | 0.033 | 0.030 |
| 2011 | 99.2 | 0 | 0.056 | 0.044 | 0.033 | 0.028 |
| 2012 | 100 | 0 | 0.055 | 0.043 | 0.034 | 0.029 |
| 2013 | 97.8 | 0 | 0.062 | 0.045 | 0.035 | 0.029 |
| 2014 | 94.8 | 0 | 0.087 | 0.050 | 0.036 | 0.030 |
| 2015 | 92.8 | 0 | 0.065 | 0.044 | 0.034 | 0.026 |
| 2016 | 95.2 | 0 | 0.057 | 0.044 | 0.032 | 0.026 |
| 2017 | 95.5 | 0 | 0.060 | 0.049 | 0.038 | 0.032 |
| 2018 | 95.8 | 0 | 0.062 | 0.050 | 0.039 | 0.032 |

Figure 24: Statistical summary for daily maximum 1-hour O3 Monash 2009 – 2018

Table 22: Statistical summary for daily maximum 1-hour O3 Civic 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2009 | 97.8 | 0 | 0.060 | 0.044 | 0.031 | 0.024 |
| 2010 | 99.2 | 0 | 0.058 | 0.040 | 0.029 | 0.025 |
| 2011 | 96.4 | 0 | 0.052 | 0.041 | 0.030 | 0.026 |
| 2012 | 100 | 0 | 0.053 | 0.034 | 0.024 | 0.020 |
| 2013 | 92.1 | 0 | 0.060 | 0.036 | 0.028 | 0.024 |
| 2014 | 94.0 | 0 | 0.060 | 0.039 | 0.028 | 0.022 |
| 2015 | 89.0 | 0 | 0.042 | 0.034 | 0.026 | 0.022 |
| 2016 | 95.8 | 0 | 0.047 | 0.036 | 0.028 | 0.024 |
| 2017 | 95.8 | 0 | 0.053 | 0.045 | 0.034 | 0.028 |
| 2018 | 95.2 | 0 | 0.056 | 0.046 | 0.032 | 0.028 |

Figure 25: Statistical summary for daily maximum 1-hour O3 Civic 2009 – 2018

Table 23: Statistical summary for daily maximum 1-hour O3 Florey 2014 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2014 | 79.4 | 0 | 0.074 | 0.034 | 0.027 | 0.023 |
| 2015 | 94.2 | 0 | 0.040 | 0.032 | 0.025 | 0.021 |
| 2016 | 95.8 | 0 | 0.050 | 0.040 | 0.031 | 0.027 |
| 2017 | 95.5 | 0 | 0.057 | 0.048 | 0.038 | 0.032 |
| 2018 | 95.2 | 0 | 0.059 | 0.050 | 0.038 | 0.032 |

Figure 26: Statistical summary for daily maximum 1-hour O3 Florey 2014 – 2018

Table 24: Statistical summary for daily maximum 4-hour O3 Monash 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2009 | 96.2 | 0 | 0.068 | 0.048 | 0.036 | 0.029 |
| 2010 | 86.6 | 0 | 0.049 | 0.040 | 0.032 | 0.029 |
| 2011 | 98.9 | 0 | 0.054 | 0.041 | 0.032 | 0.027 |
| 2012 | 99.7 | 0 | 0.052 | 0.043 | 0.034 | 0.029 |
| 2013 | 97.8 | 0 | 0.059 | 0.042 | 0.033 | 0.028 |
| 2014 | 94.8 | 0 | 0.060 | 0.046 | 0.034 | 0.029 |
| 2015 | 92.8 | 0 | 0.050 | 0.041 | 0.033 | 0.025 |
| 2016 | 95.2 | 0 | 0.055 | 0.042 | 0.030 | 0.025 |
| 2017 | 95.5 | 0 | 0.055 | 0.047 | 0.036 | 0.031 |
| 2018 | 95.8 | 0 | 0.057 | 0.049 | 0.038 | 0.032 |

Figure 27: Statistical summary for daily maximum 4-hour O3 Monash 2009 – 2018

Table 25: Statistical summary for daily maximum 4-hour O3 Civic 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2009 | 97.8 | 0 | 0.059 | 0.041 | 0.030 | 0.023 |
| 2010 | 99.2 | 0 | 0.056 | 0.037 | 0.028 | 0.024 |
| 2011 | 96.4 | 0 | 0.050 | 0.038 | 0.029 | 0.025 |
| 2012 | 100 | 0 | 0.042 | 0.032 | 0.023 | 0.019 |
| 2013 | 91.8 | 0 | 0.057 | 0.034 | 0.027 | 0.023 |
| 2014 | 94.0 | 0 | 0.047 | 0.036 | 0.026 | 0.020 |
| 2015 | 89.0 | 0 | 0.041 | 0.031 | 0.025 | 0.021 |
| 2016 | 95.8 | 0 | 0.045 | 0.035 | 0.027 | 0.023 |
| 2017 | 95.8 | 0 | 0.049 | 0.042 | 0.033 | 0.027 |
| 2018 | 95.2 | 0 | 0.053 | 0.044 | 0.031 | 0.026 |

Figure 28: Statistical summary for daily maximum 4-hour O3 Civic 2009 – 2018

Table 26:  Statistical summary for daily maximum 4-hour O3 Florey 2014 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (ppm) | 95th percentile (ppm) | 75th percentile (ppm) | 50th percentile (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| 2014 | 79.4 | 0 | 0.040 | 0.031 | 0.026 | 0.022 |
| 2015 | 94.2 | 0 | 0.037 | 0.031 | 0.025 | 0.020 |
| 2016 | 95.8 | 0 | 0.050 | 0.038 | 0.029 | 0.026 |
| 2017 | 95.5 | 0 | 0.054 | 0.046 | 0.037 | 0.031 |
| 2018 | 95.2 | 0 | 0.057 | 0.048 | 0.037 | 0.031 |

Figure 29: Statistical summary for daily maximum 4-hour O3 Florey 2014 – 2018

## PM10

Table 27: Statistical summary for daily maximum daily PM10 Monash 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (μg/m3) | Annual average (μg/m3) | 95th percentile (μg/m3) | 75th percentile (μg/m3) | 50th percentile (μg/m3) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2009 | 42.3 | 9 | 210.0 | 20.3 | 50.5 | 25.5 | 15.2 |
| 2010 | 95.4 | 0 | 48.4 | 11.1 | 23.5 | 14.7 | 10.0 |
| 2011 | 99.2 | 0 | 40.0 | 10.4 | 22.8 | 13.2 | 8.7 |
| 2012 | 98.6 | 0 | 41.0 | 10.4 | 19.7 | 13.7 | 9.7 |
| 2013 | 95.6 | 0 | 43.5 | 9.8 | 20.2 | 13.1 | 8.9 |
| 2014 | 97.8 | 0 | 39.3 | 10 | 19.1 | 12.9 | 9.6 |
| 2015 | 98.4 | 0 | 49.4 | 9.9 | 19.5 | 13.1 | 9.5 |
| 2016 | 99.5 | 0 | 31.9 | 9.7 | 21.5 | 12.7 | 9.0 |
| 2017 | 98.9 | 0 | 28.3 | 9.8 | 20.5 | 12.3 | 9.0 |
| 2018 | 99.2 | 4 | 139.2 | 11.8 | 23.0 | 14.8 | 10.4 |

Figure 30: Statistical summary for daily PM10 Monash 2009 – 2018

Note: 2009 data has not been included in Figure 30 as the percentile data has been skewed because of insufficient data in Q1 and Q2 (zero and twenty-five percent respectively) and the extreme readings associated with the dust storm which affected most of eastern Australia on 22 and 23 September, 2009.

Figure 31: Annual average daily PM10 Monash 2009 – 2018

Table 28: Statistical summary for daily maximum daily PM10 Civic 2010 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (μg/m3) | Annual average (μg/m3) | 95th percentile (μg/m3) | 75th percentile (μg/m3) | 50th percentile (μg/m3) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2010 | 57.6 | 0 | 23.8 | 8.5 | 14.7 | 11.1 | 8.4 |
| 2011 | 97.0 | 0 | 29.2 | 8.7 | 16.9 | 11.0 | 7.9 |
| 2012 | 95.1 | 0 | 49.5 | 9.4 | 17.0 | 12.1 | 8.7 |
| 2013 | 92.9 | 1 | 57.8 | 9.7 | 19.9 | 12.0 | 8.6 |
| 2014 | 95.1 | 0 | 31.4 | 9.8 | 17.7 | 12.6 | 9.3 |
| 2015 | 97.5 | 1 | 64.3 | 11.1 | 20.9 | 14.1 | 10.4 |
| 2016 | 100 | 0 | 36.6 | 10.7 | 20.6 | 14.3 | 9.7 |
| 2017 | 83.6 | 1 | 53.0 | 9.68 | 10.8 | 7.1 | 5.2 |
| 2018 | 97.8 | 1 | 179.8 | 13.5 | 24.1 | 16.1 | 11.3 |

Note:  No PM10 monitoring was conducted at Civic in 2009.

Figure 32: Statistical summary for daily PM10 Civic 2010 – 2018

Figure 33: Annual average daily PM10 Civic 2010 – 2018

Table 29: Statistical summary for daily maximum daily PM10 Florey 2014 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (μg/m3) | Annual average (μg/m3) | 95th percentile (μg/m3) | 75th percentile (μg/m3) | 50th percentile (μg/m3) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2014 | 83.3 | 0 | 30.2 | 10.4 | 21.5 | 13.0 | 9.4 |
| 2015 | 95.6 | 0 | 70.8 | 10.7 | 21.8 | 13.7 | 9.4 |
| 2016 | 98.9 | 0 | 28.8 | 10.1 | 20.6 | 13.1 | 9.2 |
| 2017 | 98.4 | 0 | 28.1 | 9.84 | 21.8 | 12.8 | 8.5 |
| 2018 | 89.9 | 3 | 158.6 | 12.0 | 23.8 | 15.3 | 10.1 |

Figure 34: Statistical summary for daily PM10 Florey 2014 – 2018

Figure 35: Annual average daily PM10 Florey 2009 – 2018

## PM2.5

Table 30: Statistical summary for daily maximum daily PM2.5 Monash 2009 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (μg/m3) | Annual average (μg/m3) | 95th percentile (μg/m3) | 75th percentile (μg/m3) | 50th percentile (μg/m3) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2009 | 64.5 | 2 | 33.5 | 6.2 | 14.6 | 7.6 | 5.0 |
| 2010 | 95.1 | 2 | 52.4 | 6.7 | 17.4 | 7.8 | 4.4 |
| 2011 | 92.1 | 4 | 32.8 | 6.5 | 20.0 | 7.0 | 4.5 |
| 2012 | 95.1 | 3 | 29.2 | 7.1 | 16.5 | 8.3 | 5.0 |
| 2013 | 98.6 | 6 | 38.4 | 6.9 | 19.2 | 8.1 | 5.2 |
| 2014 | 87.7 | 4 | 31.5 | 6.8 | 18.7 | 8.6 | 5.6 |
| 2015 | 96.4 | 6 | 33.8 | 7.4 | 19.0 | 8.2 | 5.6 |
| 2016 | 98.1 | 8 | 32.7 | 7.4 | 20.7 | 8.2 | 5.4 |
| 2017 | 98.6 | 12 | 35.2 | 7.7 | 22.5 | 9.3 | 5.3 |
| 2018 | 99.2 | 2 | 32.0 | 6.8 | 19.2 | 8.6 | 5.3 |

Figure 36: Statistical summary for daily PM2.5 Monash 2009 – 2018

Figure 37: Annual average daily PM2.5 Monash 2009 – 2018

Table 31: Statistical summary for daily maximum daily PM2.5 Civic 2016 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (μg/m3) | Annual average (μg/m3) | 95th percentile (μg/m3) | 75th percentile (μg/m3) | 50th percentile (μg/m3) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2016 | 98.6 | 0 | 22.1 | 5.5 | 11.0 | 7.1 | 4.8 |
| 2017 | 94.2 | 1 | 53.8 | 5.9 | 10.8 | 7.1 | 5.2 |
| 2018 | 98.6 | 1 | 36.1 | 6.5 | 12.1 | 8.1 | 6.1 |

Figure 38: Statistical summary for daily PM2.5 Civic 2016 – 2018

Figure 39: Annual average daily PM2.5 Civic 2016 – 2018

Table 32: Statistical summary for daily maximum daily PM2.5 Florey 2014 – 2018

| Year | Data Availability (%) | No. of Exceedances (days) | Max conc. (μg/m3) | Annual average (μg/m3) | 95th percentile (μg/m3) | 75th percentile (μg/m3) | 50th percentile (μg/m3) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2014 | 74.2 | 0 | 22.8 | 5.8 | 15.0 | 7.1 | 4.9 |
| 2015 | 96.2 | 0 | 24.3 | 6.5 | 17.1 | 7.4 | 4.8 |
| 2016 | 98.6 | 1 | 27.2 | 7.3 | 17.4 | 8.6 | 5.8 |
| 2017 | 94.2 | 0 | 23.8 | 7.2 | 17.9 | 8.7 | 5.6 |
| 2018 | 97.3 | 2 | 26.4 | 7.4 | 17.0 | 8.7 | 5.9 |

Figure 40: Statistical summary for daily PM2.5 Florey 2014 – 2018

Figure 41: Annual average daily PM2.5 Florey 2014 – 2018